## calculator
Analytical Solar Position Calculator
Copyright © 2013 Mark Mikofski
INPUTS
date | 2009-03-31 |  | day/month/year
time | 10:00 |  | hours:minutes:second am/pm
latitude | 39.5 | degrees | south is negative, north is positive
time zone | -7 | UTC | relative to Greenwich, east is positive, west is negative, independent of DST
estimated | -6.92 | UTC | 1 | estimate if time zone is correct
longitude | -103.8 | degrees | relative to Greenwich, east is positive, west is negative
field rotation | 0 | degrees | rotation of x-y coordinate system of solar array, y is north, x is east, rotation is clockwise from north
daylight savings | no | AU:Oct-March, USA: March-November
OUTPUTS
ET | -4.6617 | min | equation of time
B | 0.15493 |  | equation of time parameter
solar time | 10:00 |  | approximate solar time
capital_PHI | 0.68941 | radians | latitude
phi_rot | 0 | radians | field rotation
d_n | 90 | # | day number
t_h | -29.9654 | degrees | hour angle
| -0.523 | radians | hour angle
delta | 3.5188 | degrees | declination
| 0.061415 | radians | declination
theta | 0.7866 | radians | zenith, measured from the z-axis, 0 < theta < 90
| 45.0687 | degrees | zenith
elevation | 44.9313 | degrees | elevation or altitude, measured from the ground, between 0 and 90 degrees
day/night | day
cos(phi) | 0.71001 |  | cosine of azimuth
phi | 0.78129 | radians | azimuth [0, 180], absolute value measured from due south, so east = west = 90, south = 0, north = 180
| 2.3603 | radians | azimuth [0, 360], measured clockwise from due north, so east = 90, south = 180, and west = 270 degrees
| 135.2357 | degrees | azimuth
phi_x | 35.2176 | degrees | projection of sun angle on x-z plane, measured from z-direction (up)
phi_y | -35.44 | degrees | projection of sun angle on y-z plane, measured from z-direction (up)
theta
phi
z
x
y
phi_x
phi_y
sun-ray
cos(theta)
sin(theta)*sin(phi)
sin(theta)
sin(theta)*cos(phi)

## ET
1 | -3.7052 | -1.3771
2 | -4.1497 | -1.3599
3 | -4.5894 | -1.3427
4 | -5.0239 | -1.3255
5 | -5.4528 | -1.3083
6 | -5.8756 | -1.2911
7 | -6.2921 | -1.2739
8 | -6.7018 | -1.2566
9 | -7.1043 | -1.2394
10 | -7.4993 | -1.2222
11 | -7.8865 | -1.205
12 | -8.2655 | -1.1878
13 | -8.6359 | -1.1706
14 | -8.9975 | -1.1534
15 | -9.3499 | -1.1361
16 | -9.6929 | -1.1189
17 | -10.0261 | -1.1017
18 | -10.3492 | -1.0845
19 | -10.6621 | -1.0673
20 | -10.9643 | -1.0501
21 | -11.2557 | -1.0329
22 | -11.5361 | -1.0156
23 | -11.8052 | -0.99842
24 | -12.0628 | -0.98121
25 | -12.3087 | -0.964
26 | -12.5428 | -0.94678
27 | -12.7648 | -0.92957
28 | -12.9746 | -0.91235
29 | -13.1721 | -0.89514
30 | -13.3571 | -0.87792
31 | -13.5296 | -0.86071
32 | -13.6893 | -0.8435
33 | -13.8363 | -0.82628
34 | -13.9705 | -0.80907
35 | -14.0917 | -0.79185
36 | -14.2 | -0.77464
37 | -14.2953 | -0.75743
38 | -14.3777 | -0.74021
39 | -14.447 | -0.723
40 | -14.5033 | -0.70578
41 | -14.5467 | -0.68857
42 | -14.5771 | -0.67135
43 | -14.5947 | -0.65414
44 | -14.5995 | -0.63693
45 | -14.5916 | -0.61971
46 | -14.5711 | -0.6025
47 | -14.538 | -0.58528
48 | -14.4926 | -0.56807
49 | -14.4349 | -0.55085
50 | -14.3651 | -0.53364
51 | -14.2833 | -0.51643
52 | -14.1898 | -0.49921
53 | -14.0848 | -0.482
54 | -13.9683 | -0.46478
55 | -13.8407 | -0.44757
56 | -13.7021 | -0.43036
57 | -13.5528 | -0.41314
58 | -13.393 | -0.39593
59 | -13.2231 | -0.37871
60 | -13.0431 | -0.3615
61 | -12.8536 | -0.34428
62 | -12.6546 | -0.32707
63 | -12.4465 | -0.30986
64 | -12.2297 | -0.29264
65 | -12.0044 | -0.27543
66 | -11.7709 | -0.25821
67 | -11.5296 | -0.241
68 | -11.2808 | -0.22378
69 | -11.0249 | -0.20657
70 | -10.7622 | -0.18936
71 | -10.4931 | -0.17214
72 | -10.2179 | -0.15493
73 | -9.937 | -0.13771
74 | -9.6508 | -0.1205
75 | -9.3596 | -0.10329
76 | -9.0638 | -0.086071
77 | -8.7639 | -0.068857
78 | -8.4601 | -0.051643
79 | -8.153 | -0.034428
80 | -7.8428 | -0.017214
81 | -7.53 | 0
82 | -7.215 | 0.017214
83 | -6.8981 | 0.034428
84 | -6.5798 | 0.051643
85 | -6.2604 | 0.068857
86 | -5.9404 | 0.086071
87 | -5.6201 | 0.10329
88 | -5.3 | 0.1205
89 | -4.9804 | 0.13771
90 | -4.6617 | 0.15493
91 | -4.3443 | 0.17214
92 | -4.0286 | 0.18936
93 | -3.7149 | 0.20657
94 | -3.4036 | 0.22378
95 | -3.0952 | 0.241
96 | -2.7898 | 0.25821
97 | -2.488 | 0.27543
98 | -2.1901 | 0.29264
99 | -1.8963 | 0.30986
100 | -1.6071 | 0.32707
101 | -1.3227 | 0.34428
102 | -1.0435 | 0.3615
103 | -0.76981 | 0.37871
104 | -0.50192 | 0.39593
105 | -0.24012 | 0.41314
106 | 0.015291 | 0.43036
107 | 0.26405 | 0.44757
108 | 0.50588 | 0.46478
109 | 0.74054 | 0.482
110 | 0.96776 | 0.49921
111 | 1.1873 | 0.51643
112 | 1.399 | 0.53364
113 | 1.6026 | 0.55085
114 | 1.7979 | 0.56807
115 | 1.9847 | 0.58528
116 | 2.1628 | 0.6025
117 | 2.3321 | 0.61971
118 | 2.4924 | 0.63693
119 | 2.6435 | 0.65414
120 | 2.7855 | 0.67135
121 | 2.918 | 0.68857
122 | 3.0411 | 0.70578
123 | 3.1546 | 0.723
124 | 3.2585 | 0.74021
125 | 3.3526 | 0.75743
126 | 3.437 | 0.77464
127 | 3.5117 | 0.79185
128 | 3.5765 | 0.80907
129 | 3.6315 | 0.82628
130 | 3.6766 | 0.8435
131 | 3.712 | 0.86071
132 | 3.7376 | 0.87792
133 | 3.7534 | 0.89514
134 | 3.7596 | 0.91235
135 | 3.7562 | 0.92957
136 | 3.7433 | 0.94678
137 | 3.7209 | 0.964
138 | 3.6892 | 0.98121
139 | 3.6483 | 0.99842
140 | 3.5983 | 1.0156
141 | 3.5394 | 1.0329
142 | 3.4718 | 1.0501
143 | 3.3955 | 1.0673
144 | 3.3108 | 1.0845
145 | 3.2179 | 1.1017
146 | 3.1169 | 1.1189
147 | 3.0082 | 1.1361
148 | 2.8918 | 1.1534
149 | 2.7681 | 1.1706
150 | 2.6373 | 1.1878
151 | 2.4996 | 1.205
152 | 2.3553 | 1.2222
153 | 2.2046 | 1.2394
154 | 2.048 | 1.2566
155 | 1.8855 | 1.2739
156 | 1.7176 | 1.2911
157 | 1.5445 | 1.3083
158 | 1.3666 | 1.3255
159 | 1.1841 | 1.3427
160 | 0.99743 | 1.3599
161 | 0.80686 | 1.3771
162 | 0.61273 | 1.3944
163 | 0.41539 | 1.4116
164 | 0.21518 | 1.4288
165 | 0.012447 | 1.446
166 | -0.19246 | 1.4632
167 | -0.39918 | 1.4804
168 | -0.60736 | 1.4976
169 | -0.81663 | 1.5149
170 | -1.0266 | 1.5321
171 | -1.237 | 1.5493
172 | -1.4474 | 1.5665
173 | -1.6575 | 1.5837
174 | -1.8668 | 1.6009
175 | -2.0751 | 1.6181
176 | -2.2819 | 1.6353
177 | -2.4869 | 1.6526
178 | -2.6897 | 1.6698
179 | -2.89 | 1.687
180 | -3.0874 | 1.7042
181 | -3.2817 | 1.7214
182 | -3.4723 | 1.7386
183 | -3.659 | 1.7558
184 | -3.8415 | 1.7731
185 | -4.0193 | 1.7903
186 | -4.1923 | 1.8075
187 | -4.36 | 1.8247
188 | -4.5221 | 1.8419
189 | -4.6784 | 1.8591
190 | -4.8285 | 1.8763
191 | -4.9721 | 1.8936
192 | -5.109 | 1.9108
193 | -5.2389 | 1.928
194 | -5.3614 | 1.9452
195 | -5.4764 | 1.9624
196 | -5.5836 | 1.9796
197 | -5.6827 | 1.9968
198 | -5.7736 | 2.0141
199 | -5.8559 | 2.0313
200 | -5.9295 | 2.0485
201 | -5.9942 | 2.0657
202 | -6.0498 | 2.0829
203 | -6.0961 | 2.1001
204 | -6.1329 | 2.1173
205 | -6.1602 | 2.1346
206 | -6.1777 | 2.1518
207 | -6.1853 | 2.169
208 | -6.1829 | 2.1862
209 | -6.1704 | 2.2034
210 | -6.1477 | 2.2206
211 | -6.1147 | 2.2378
212 | -6.0714 | 2.2551
213 | -6.0177 | 2.2723
214 | -5.9535 | 2.2895
215 | -5.8789 | 2.3067
216 | -5.7939 | 2.3239
217 | -5.6983 | 2.3411
218 | -5.5923 | 2.3583
219 | -5.4759 | 2.3756
220 | -5.3491 | 2.3928
221 | -5.2119 | 2.41
222 | -5.0645 | 2.4272
223 | -4.9069 | 2.4444
224 | -4.7392 | 2.4616
225 | -4.5615 | 2.4788
226 | -4.374 | 2.4961
227 | -4.1767 | 2.5133
228 | -3.9699 | 2.5305
229 | -3.7536 | 2.5477
230 | -3.5281 | 2.5649
231 | -3.2935 | 2.5821
232 | -3.05 | 2.5993
233 | -2.7979 | 2.6166
234 | -2.5373 | 2.6338
235 | -2.2686 | 2.651
236 | -1.9918 | 2.6682
237 | -1.7074 | 2.6854
238 | -1.4155 | 2.7026
239 | -1.1165 | 2.7198
240 | -0.81053 | 2.7371
241 | -0.498 | 2.7543
242 | -0.17919 | 2.7715
243 | 0.14559 | 2.7887
244 | 0.47602 | 2.8059
245 | 0.81176 | 2.8231
246 | 1.1525 | 2.8403
247 | 1.4978 | 2.8576
248 | 1.8475 | 2.8748
249 | 2.201 | 2.892
250 | 2.5581 | 2.9092
251 | 2.9184 | 2.9264
252 | 3.2814 | 2.9436
253 | 3.6469 | 2.9608
254 | 4.0144 | 2.9781
255 | 4.3835 | 2.9953
256 | 4.7539 | 3.0125
257 | 5.1251 | 3.0297
258 | 5.4967 | 3.0469
259 | 5.8683 | 3.0641
260 | 6.2396 | 3.0813
261 | 6.61 | 3.0986
262 | 6.9793 | 3.1158
263 | 7.3469 | 3.133
264 | 7.7125 | 3.1502
265 | 8.0757 | 3.1674
266 | 8.436 | 3.1846
267 | 8.7931 | 3.2018
268 | 9.1465 | 3.2191
269 | 9.4959 | 3.2363
270 | 9.8408 | 3.2535
271 | 10.1808 | 3.2707
272 | 10.5156 | 3.2879
273 | 10.8447 | 3.3051
274 | 11.1678 | 3.3223
275 | 11.4844 | 3.3396
276 | 11.7943 | 3.3568
277 | 12.0971 | 3.374
278 | 12.3923 | 3.3912
279 | 12.6796 | 3.4084
280 | 12.9588 | 3.4256
281 | 13.2293 | 3.4428
282 | 13.491 | 3.4601
283 | 13.7434 | 3.4773
284 | 13.9864 | 3.4945
285 | 14.2195 | 3.5117
286 | 14.4424 | 3.5289
287 | 14.655 | 3.5461
288 | 14.8568 | 3.5633
289 | 15.0477 | 3.5806
290 | 15.2274 | 3.5978
291 | 15.3957 | 3.615
292 | 15.5522 | 3.6322
293 | 15.6969 | 3.6494
294 | 15.8294 | 3.6666
295 | 15.9497 | 3.6838
296 | 16.0574 | 3.7011
297 | 16.1526 | 3.7183
298 | 16.2349 | 3.7355
299 | 16.3042 | 3.7527
300 | 16.3605 | 3.7699
301 | 16.4036 | 3.7871
302 | 16.4334 | 3.8043
303 | 16.4498 | 3.8216
304 | 16.4528 | 3.8388
305 | 16.4422 | 3.856
306 | 16.4181 | 3.8732
307 | 16.3804 | 3.8904
308 | 16.3291 | 3.9076
309 | 16.2642 | 3.9248
310 | 16.1858 | 3.9421
311 | 16.0937 | 3.9593
312 | 15.9881 | 3.9765
313 | 15.8691 | 3.9937
314 | 15.7366 | 4.0109
315 | 15.5909 | 4.0281
316 | 15.4319 | 4.0453
317 | 15.2598 | 4.0626
318 | 15.0748 | 4.0798
319 | 14.8769 | 4.097
320 | 14.6663 | 4.1142
321 | 14.4432 | 4.1314
322 | 14.2078 | 4.1486
323 | 13.9603 | 4.1658
324 | 13.7008 | 4.1831
325 | 13.4296 | 4.2003
326 | 13.147 | 4.2175
327 | 12.8531 | 4.2347
328 | 12.5483 | 4.2519
329 | 12.2327 | 4.2691
330 | 11.9067 | 4.2863
331 | 11.5706 | 4.3036
332 | 11.2247 | 4.3208
333 | 10.8692 | 4.338
334 | 10.5046 | 4.3552
335 | 10.1311 | 4.3724
336 | 9.749 | 4.3896
337 | 9.3588 | 4.4068
338 | 8.9608 | 4.4241
339 | 8.5554 | 4.4413
340 | 8.1429 | 4.4585
341 | 7.7237 | 4.4757
342 | 7.2982 | 4.4929
343 | 6.8669 | 4.5101
344 | 6.43 | 4.5273
345 | 5.9881 | 4.5446
346 | 5.5415 | 4.5618
347 | 5.0907 | 4.579
348 | 4.636 | 4.5962
349 | 4.1779 | 4.6134
350 | 3.7169 | 4.6306
351 | 3.2534 | 4.6478
352 | 2.7877 | 4.665
353 | 2.3204 | 4.6823
354 | 1.8519 | 4.6995
355 | 1.3826 | 4.7167
356 | 0.91301 | 4.7339
357 | 0.44349 | 4.7511
358 | -0.025476 | 4.7683
359 | -0.49346 | 4.7855
360 | -0.96001 | 4.8028
361 | -1.4247 | 4.82
362 | -1.8871 | 4.8372
363 | -2.3468 | 4.8544
364 | -2.8033 | 4.8716
365 | -3.2562 | 4.8888